Załącznik 6a do SIWZ

Wykaz standardów i protokołów.

Zadanie nr 2: Dostawa i montaż urządzeń sieciowych.

4 i 5. Przełącznik zarządzalny:

General protocols

IEEE 802.3at PoE+

IEEE 802.3az Energy Efficient Ethernet

IEEE 802.3x Flow Control

RFC 768 UDP

RFC 783 TFTP Protocol (revision 2)

RFC 792 ICMP

RFC 793 TCP

RFC 826 ARP

RFC 854 TELNET

RFC 868 Time Protocol

RFC 951 BOOTP

RFC 1058 RIPv1

RFC 1256 ICMP Router Discovery Protocol (IRDP)

RFC 1350 TFTP Protocol (revision 2)

RFC 1519 CIDR

RFC 1542 BOOTP Extensions

RFC 1918 Address Allocation for Private Internet

RFC 2030 Simple Network Time Protocol (SNTP) v4

RFC 2131 DHCP

RFC 2236 IGMP Snooping

RFC 2453 RIPv2

RFC 2865 Remote Authentication Dial In User Service (RADIUS)

RFC 2866 RADIUS Accounting

RFC 3046 DHCP Relay Agent Information Option

RFC 3411 An Architecture for Describing Simple Network Management Protocol (SNMP) Management Frameworks

RFC 3412 Message Processing and Dispatching for the Simple Network Management Protocol (SNMP)

RFC 3413 Simple Network Management Protocol (SNMP) Applications

RFC 3414 User-based Security Model (USM) for version 3 of the Simple Network Management Protocol (SNMPv3)

RFC 3415 View-based Access Control Model (VACM) for the Simple Network Management Protocol (SNMP)

RFC 3416 Protocol Operations for SNMP

RFC 3417 Transport Mappings for the Simple Network Management Protocol (SNMP)

RFC 3418 Management Information Base (MIB) for the Simple Network Management Protocol (SNMP)

RFC 3576 Ext to RADIUS (CoA only c04111401 — DA – 14499 Worldwide — Version 14 — December 1,2014 Page 34

RFC 4541 Considerations for Internet Group Management Protocol (IGMP) and Multicast Listener

Discovery (MLD) Snooping Switches

RFC 4675 RADIUS VLAN & Priority

RFC 4861 Neighbor Discovery for IP version 6 (IPv6)

RFC 4862 IPv6 Stateless Address Autoconfiguration UDLD (Uni-directional Link Detection)

IP multicast

RFC 1112 IGMP

RFC 2236 IGMPv2

RFC 2710 Multicast Listener Discovery (MLD) for IPv6

RFC 3376 IGMPv3 (host joins only)

RFC 4541 Considerations for Internet Group

Management Protocol (IGMP) and Multicast Listener

Discovery (MLD) Snooping Switches

IPv6

RFC 1981 IPv6 Path MTU Discovery

RFC 2460 IPv6 Specification

RFC 2464 Transmission of IPv6 over Ethernet Networks

RFC 2710 Multicast Listener Discovery (MLD) for IPv6

RFC 2925 Definitions of Managed Objects for Remote Ping, Traceroute, and Lookup Operations (Ping only)

RFC 2925 Remote Operations MIB (Ping only)

RFC 3019 MLDv1 MIB

RFC 3315 DHCPv6 (client and relay)

RFC 3484 Default Address Selection for IPv6

RFC 3513 IPv6 Addressing Architecture

RFC 3596 DNS Extension for IPv6

RFC 3810 MLDv2 for IPv6

RFC 4022 MIB for TCP RFC 4113 MIB for UDP

RFC 4251 SSHv6 Architecture

RFC 4252 SSHv6 Authentication

RFC 4253 SSHv6 Transport Layer

RFC 4254 SSHv6 Connection

RFC 4291 IP Version 6 Addressing Architecture

RFC 4293 MIB for IP

RFC 4419 Key Exchange for SSH

RFC 4443 ICMPv6

RFC 4541 IGMP & MLD Snooping Switch

RFC 4861 IPv6 Neighbor Discovery

RFC 4862 IPv6 Stateless Address Auto-configuration

RFC 5095 Deprecation of Type 0 Routing Headers in IPv6

MIBs

IEEE 802.1ap (MSTP and STP MIB's only)

RFC 1155 Structure & ID of Mgmt Info for TCP/IP Internets

RFC 1156 (TCP/IP MIB)

RFC 1157 A Simple Network Management Protocol (SNMP)

RFC 1213 MIB II

RFC 1493 Bridge MIB

RFC 1724 RIPv2 MIB

RFC 2021 RMONv2 MIB

RFC 2578 Structure of Management Information Version 2 (SMIv2)

RFC 2579 Textual Conventions for SMIv2

RFC 2580 Conformance Statements for SMIv2

RFC 2613 SMON MIB

RFC 2618 RADIUS Client MIB

RFC 2620 RADIUS Accounting MIB

RFC 2665 Ethernet-Like-MIB

RFC 2668 802.3 MAU MIB

RFC 2674 802.1p and IEEE 802.1Q Bridge MIB

RFC 2737 Entity MIB (Version 2)

RFC 2819 RMON MIB

RFC 2863 The Interfaces Group MIB

RFC 2925 Ping MIB

RFC 2932 IP (Multicast Routing MIB)

RFC 2933 IGMP MIB

RFC 3414 SNMP-User based-SM MIB

RFC 3415 SNMP-View based-ACM MIB

RFC 3417 Simple Network Management Protocol (SNMP) over IEEE 802 Networks

RFC 3418 MIB for SNMPv3

RFC 4836 Managed Objects for 802.3 Medium Attachment Units (MAU)

Network management

IEEE 802.1AB Link Layer Discovery Protocol (LLDP)

RFC 1155 Structure of Management Information

RFC 1157 SNMPv1

RFC 2021 Remote Network Monitoring Management Information Base Version 2 using SMIv2

RFC 2576 Coexistence between SNMP versions

RFC 2578 Structure of Management Information Version 2 (SMIv2)

RFC 2579 Textual Conventions for SMIv2

RFC 2580 Conformance Statements for SMIv2

RFC 2819 Four groups of RMON: 1 (statistics), 2 (history), 3 (alarm) and 9 (events)

RFC 2819 Remote Network Monitoring Management Information Base

RFC 2856 Textual Conventions for Additional High Capacity Data Types

RFC 2925 Definitions of Managed Objects for Remote Ping, Traceroute, and Lookup Operations

RFC 3164 BSD syslog Protocol

RFC 3176 sFlow

RFC 3411 SNMP Management Frameworks

RFC 3412 SNMPv3 Message Processing

RFC 3414 SNMPv3 User-based Security Model (USM)

RFC 3415 SNMPv3 View-based Access Control Model VACM)

RFC 5424 Syslog Protocol

ANSI/TIA-1057 LLDP Media Endpoint Discovery (LLDP-MED)

SNMPv1/v2c/v3

XRMON

QoS/CoS

IEEE 802.1P (CoS)

RFC 2474 DiffServ Precedence, including 8 queues/port

RFC 2597 DiffServ Assured Forwarding (AF)

RFC 2598 DiffServ Expedited Forwarding (EF)

Ingress Rate Limiting

Security

IEEE 802.1X Port Based Network Access Control

IEEE 802.1X:Port-Based Network Access Control (2001)

RFC 1321 The MD5 Message-Digest Algorithm

RFC 1334 PPP Authentication Protocols (PAP)

RFC 1492 An Access Control Protocol, Sometimes Called TACACS

RFC 1492 TACACS+

RFC 1994 PPP Challenge Handshake

Authentication Protocol (CHAP)

RFC 2082 RIP-2 MD5 Authentication

RFC 2104 Keyed-Hashing for Message Authentication

RFC 2138 RADIUS Authentication

RFC 2139 RADIUS Accounting

RFC 2246 Transport Layer Security (TLS)

RFC 2548 Microsoft Vendor-specific RADIUS Attributes

RFC 2618 RADIUS Authentication Client MIB

RFC 2620 RADIUS Accounting Client MIB

RFC 2716 PPP EAP TLS Authentication Protocol

RFC 2818 HTTP Over TLS

RFC 2865 RADIUS (client only)

RFC 2865 RADIUS Authentication

RFC 2866 RADIUS Accounting

RFC 2867 RADIUS Accounting Modifications for Tunnel Protocol Support

RFC 2868 RADIUS Attributes for Tunnel Protocol Support

RFC 2869 RADIUS Extensions

RFC 2882 NAS Requirements: Extended RADIUS Practices

RFC 3162 RADIUS and IPv6

RFC 3576 Dynamic Authorization Extensions to RADIUS

RFC 3579 RADIUS Support For Extensible Authentication Protocol (EAP)

RFC 3580 IEEE 802.1X Remote Authentication Dial In User Service (RADIUS) Usage Guidelines

RFC 4576 RADIUS Attributes

Access Control Lists (ACLs)

draft-grant-tacacs-02 (TACACS)

Guest VLAN for 802.1x

MAC Authentication

MAC Lockdown

MAC Lockout

Port Security

Secure Sockets Layer (SSL)

SSHv2 Secure Shell

Web Authentication